|  | VIETNAM ELECTRICITY POWER ENGINEERING CONSULTING JOINT STOCK COMPANY 1 66 Luong Ngoc Quyen, Thanh Liet ward, Ha Noi City, Vietnam Tel: (84-24)-3854 4270 Fax: (84-24)-3854 3954 |
| --- | --- |

| To: Attention: | PMB2 Mr. Do Thanh Tai Director |  | Tel: + 84 2466941001 Fax: + 84 2466941002 Address: Floor 8th – Tower B – EVN tower – No. 11 Cua Bac Street, Ba Dinh Ward, Ha Noi city, Vietnam |  |
| --- | --- | --- | --- | --- |
| To: Attention: | PMB2 Mr. Dao Ngoc Long Deputy Director |  |  |  |
|  |  | Ref. No.: QT1-HDH-PMB2-T-6015 October 23, 2026 |  |
| Quang Trach I TPP Project Identification Number. QTI-PECC1-PMB2-26-10-111 Subject: Entire set of Mechnical P&IDs (APD, Rev.1 ~ 4 & 6) |  |  |  |

Dear Sir,

This has reference to the Transmittal QT1-HDH-PMB2-T-6015, we would like to comment as follows:

- The document QT1-L-M-010-21-00001 P&I Diagram - Symbol & Legend (1/4) Rev.1 is APRROVED (APP) indicated as per CaRs xxxx Rxx.

- The document QT1-L-M-010-21-00002 P&I Diagram - Symbol & Legend (2/4) Rev.1 is APRROVED (APP) indicated as per CaRs xxxx Rxx.

- …

- The document QT1-1-M-LBD-21-00011 P&I Diagram - Auxiliary Turbine Extraction Steam System Rev.3 is APRROVED (APP) indicated as per CaRs xxxx Rxx.

Yours sincerely,

Ho Sy Quang

Project Manager